## Information
Basic Information |  | Sample Information
Study No | DTPK-CS-22-018 | 기 |  | 시험대상자
Sponsor | 아주약품㈜ | Period I |  | B010 | B020 | B030 | B040 | B050 | B060 | B070 | B080 | B090 | B100 | B110 | B120 | B130 | B140 | B150 | B160
Drug name | 시험약 1: C54R1 시험약 2: A51R1 시험약 3: A51R3 | Period II
Matrix | Human Plasma | Remark |  | 시험대상자 B010: B140 - 1기 채혈 완료 후 탈락 B070 - 2기 1.5h 채혈 완료 후 탈락
Aanticoagulant | EDTA K2
Analyte | Dapagliflozin
Internal standard | Dapagliflozin-d5
Unit | ng/mL
Linearity unit | R
Validation mean_Calibration curve slope | 0.01013
Validation mean_LLOQ peak ratio (SYS) | 0.0102
Collecting point
Calibration Curve |  | No. | Time (hr)
Blank | Blank | 1 | 0
S0 | Zero blank | 2 | 0.25
S1 | 1 | 3 | 0.5
S2 | 5 | 4 | 0.75
S3 | 10 | 5 | 1
S4 | 50 | 6 | 1.5
S5 | 100 | 7 | 2
S6 | 250 | 8 | 3
S7 | 500 | 9 | 4
|  | 10 | 5
Quality control |  | 11 | 6
QL | 3 | 12 | 7
QM | 200 | 13 | 8
QH | 400 | 14 | 10
|  | 15 | 12
|  | 16 | 24
|  | 17 | 36

## Batch Summary
Batch Summary
Analysis date | Batch name | Sample name | Valid /Invalid | Comment
2022.08.09 ~ 2022.08.10 | 1Batch | B010 ~ B060 : 204개 | Valid | N/A
2022.08.10 ~ 2022.08.11 | 2Batch | B070 ~ B120 (B070 - 2기 1.5h 채혈 완료 후 탈락) : 193개 | Valid | N/A
2022.08.11 | 3Batch | B130 ~ B160 (B140 - 1기 채혈 완료 후 탈락) : 119개 | Valid | N/A
2022.08.12 | 1ISR | 1P_B010_3h 등 52개 | Valid | N/A

## SYS
System suitability
Sample name | Peak area |  | Area ratio | ISTD Peak area CV (%) | Area ratio CV (%)
| STD | ISTD
20220809_SYS_IR1 | 1848524 | 953821 | 1.938 | 2.7651 | 0.4777
20220809_SYS_IR2 | 1833502 | 950010 | 1.93
20220809_SYS_IR3 | 1840353 | 954420 | 1.9282 |  |  | ISTD Peak area CV (%) | Area ratio CV (%)
20220809_SYS_IR4 | 1775950 | 920193 | 1.93
20220809_SYS_IR5 | 1748182 | 896303 | 1.9504 |  |  | O | O
20220809_SYS_Blank1 | 0 | 0 | #DIV/0! |  |  | STD area | IS area
20220809_SYS_LLOQ1 | 9091 | 916494 | 0.0099 |  |  | O | O
Validation mean Peak ratio (SYS)
0.0102
O
Sample name | Peak area |  | Area ratio | ISTD Peak area CV (%) | Area ratio CV (%)
| STD | ISTD
20220810_SYS_IR1 | 1916589 | 957495 | 2.0017 | 2.1632 | 1.2917
20220810_SYS_IR2 | 1904319 | 930166 | 2.0473
20220810_SYS_IR3 | 1880116 | 948060 | 1.9831 |  |  | ISTD Peak area CV (%) | Area ratio CV (%)
20220810_SYS_IR4 | 1865050 | 938301 | 1.9877
20220810_SYS_IR5 | 1803467 | 904497 | 1.9939 |  |  | O | O
20220810_SYS_Blank1 | 0 | 0 | #DIV/0! |  |  | STD area | IS area
20220810_SYS_LLOQ1 | 9262 | 864495 | 0.0107 |  |  | O | O
Validation mean Peak ratio (SYS)
0.0102
O
Sample name | Peak area |  | Area ratio | ISTD Peak area CV (%) | Area ratio CV (%)
| STD | ISTD
20220811_SYS_IR1 | 2024512 | 1012042 | 2.0004 | 3.1609 | 1.9123
20220811_SYS_IR2 | 1995317 | 1032172 | 1.9331
20220811_SYS_IR3 | 1982951 | 982056 | 2.0192 |  |  | ISTD Peak area CV (%) | Area ratio CV (%)
20220811_SYS_IR4 | 1961529 | 973631 | 2.0147
20220811_SYS_IR5 | 1933889 | 953539 | 2.0281 |  |  | O | O
20220811_SYS_Blank1 | 0 | 0 | #DIV/0! |  |  | STD area | IS area
20220811_SYS_LLOQ1 | 10431 | 1056904 | 0.0099 |  |  | O | O
Validation mean Peak ratio (SYS)
0.0102
O
Sample name | Peak area |  | Area ratio | ISTD Peak area CV (%) | Area ratio CV (%)
| STD | ISTD
20220812_SYS_IR1 | 1762143 | 882461 | 1.9968 | 0.88908 | 1.1008
20220812_SYS_IR2 | 1757892 | 869824 | 2.021
20220812_SYS_IR3 | 1767807 | 873306 | 2.0243 |  |  | ISTD Peak area CV (%) | Area ratio CV (%)
20220812_SYS_IR4 | 1783066 | 866129 | 2.0587
20220812_SYS_IR5 | 1752423 | 862156 | 2.0326 |  |  | O | O
20220812_SYS_Blank1 | 0 | 0 | #DIV/0! |  |  | STD area | IS area
20220812_SYS_LLOQ1 | 9206 | 913633 | 0.0101 |  |  | O | O
Validation mean Peak ratio (SYS)
0.0102
O

## STD&QC report
Calibration curve | [12 empty] | Quality Control |  |  |  | Between batch : QC accuracy and precision |  |  |  | Accuracy
Batch name | Measured concentration (ng/mL) | [6 empty] | Calibration curve parameters |  |  | Slope Difference (%) |  | Batch name | Nominal | Measured | Accuracy (%) | Nominal | Mean measured | CV (%) | Accuracy (%) | Batch name | QL (%) | QM (%) | QH (%)
[14 empty] | conc. | conc. |  | conc. | conc.
| 1 | 5 | 10 | 50 | 100 | 250 | 500 | Slope | Intercept | R |  |  |  | (ng/mL) | (ng/mL) |  | (ng/mL) | (ng/mL) |  |  | 1Batch | 102.2 | 106.8517 | 105.9055
1Batch | 0.997 | 5.011 | 10.339 | 48.772 | 99.607 | 248.635 | 500.546 | 0.00932 | 0.000842 | 0.9998 | -7.9961 | O | 1Batch | 3 | 3.058 | 101.9 | 3 | 3.084 | 1.801 | 102.8 | 2Batch | 102.2917 | 101.6238 | 104.4648
2Batch | 1 | 4.792 | 10.829 | 49.024 | 101.956 | 246.533 | 486.091 | 0.00973 | 0.000369 | 0.999 | -3.9487 | O |  | 200 | 211.663 | 105.8 | 200 | 212.1001 | 2.908 | 106.05 | 3Batch | 104.6667 | 109.737 | 108.3672
3Batch | 0.999 | 4.987 | 10.161 | 49.085 | 99.494 | 248.361 | 508.599 | 0.00923 | 0.000762 | 0.9999 | -8.8845 | O |  | 400 | 424.482 | 106.1 | 400 | 424.5722 | 1.7953 | 106.143 | 1ISR | 103.15 | 107.399 | 107.7504
1ISR | 1.001 | 5.002 | 9.851 | 49.647 | 102.833 | 250.405 | 495.16 | 0.00937 | 0.000499 | 0.9999 | -7.5025 | O |  | 3 | 3.019 | 100.6
Mean | 0.99925 | 4.948 | 10.295 | 49.132 | 100.9725 | 248.4835 | 497.599 | 0.0094125 | 0.000618 | 0.99965 | - |  |  | 200 | 213.969 | 107
SD | 0.0017078 | 0.10447 | 0.40914 | 0.3691 | 1.6812 | 1.5848 | 9.4528 | - | - | - | - |  |  | 400 | 418.551 | 104.6 | Within batch : QC accuracy and precision
CV (%) | 0.17091 | 2.1114 | 3.9742 | 0.75124 | 1.665 | 0.63778 | 1.8997 | - | - | - | - |  |  | 3 | 3.135 | 104.5 |  |  |  |  | Precision
Accuracy (%) | 99.925 | 98.96 | 102.95 | 98.264 | 100.9725 | 99.3934 | 99.5198 | - | - | - | - |  |  | 200 | 213.432 | 106.7 | 1Batch
[14 empty] | 400 | 420.096 | 105 | Nominal | Mean measured | CV (%) | Accuracy (%) | Batch name | QL (%) | QM (%) | QH (%)
[14 empty] | 3 | 3.052 | 101.7 | conc. | conc.
[14 empty] | 200 | 215.75 | 107.9 | (ng/mL) | (ng/mL) |  |  | 1Batch | 1.6012 | 0.78747 | 1.3543
[14 empty] | 400 | 431.359 | 107.8 | 3 | 3.066 | 1.6012 | 102.2 | 2Batch | 2.2969 | 0.27426 | 1.4062
[13 empty] | 2Batch | 3 | 3.007 | 100.2 | 200 | 213.7035 | 0.78747 | 106.8517 | 3Batch | 0.99085 | 0.61666 | 0.169
[14 empty] | 200 | 232.461* | 116.2 | 400 | 423.622 | 1.3543 | 105.9055 | 1ISR | 1.4853 | 0.41084 | 0.78306
[14 empty] | 400 | 421.467 | 105.4
[14 empty] | 3 | 3.164 | 105.5 | 2Batch
[14 empty] | 200 | 202.611 | 101.3 | Nominal | Mean measured | CV (%) | Accuracy (%)
[14 empty] | 400 | 412.231 | 103.1 | conc. | conc.
[14 empty] | 3 | 3.079 | 102.6 | (ng/mL) | (ng/mL)
[14 empty] | 200 | 203.648 | 101.8 | 3 | 3.0688 | 2.2969 | 102.2917
[14 empty] | 400 | 413.538 | 103.4 | 200 | 203.2477 | 0.27426 | 101.6238
[14 empty] | 3 | 3.025 | 100.8 | 400 | 417.8592 | 1.4062 | 104.4648
[14 empty] | 200 | 203.484 | 101.7
[14 empty] | 400 | 424.201 | 106.1 | 3Batch
[13 empty] | 3Batch | 3 | 3.118 | 103.9 | Nominal | Mean measured | CV (%) | Accuracy (%)
[14 empty] | 200 | 218.517 | 109.3 | conc. | conc.
[14 empty] | 400 | 433.987 | 108.5 | (ng/mL) | (ng/mL)
[14 empty] | 3 | 3.162 | 105.4 | 3 | 3.14 | 0.99085 | 104.6667
[14 empty] | 200 | 220.431 | 110.2 | 200 | 219.474 | 0.61666 | 109.737
[14 empty] | 400 | 432.951 | 108.2 | 400 | 433.469 | 0.169 | 108.3672
[13 empty] | 1ISR | 3 | 3.127 | 104.2
[14 empty] | 200 | 214.174 | 107.1 | 1ISR
[14 empty] | 400 | 428.615 | 107.2 | Nominal | Mean measured | CV (%) | Accuracy (%)
[14 empty] | 3 | 3.062 | 102.1 | conc. | conc.
[14 empty] | 200 | 215.422 | 107.7 | (ng/mL) | (ng/mL)
[14 empty] | 400 | 433.388 | 108.3 | 3 | 3.0945 | 1.4853 | 103.15
[13 empty] | *허용기준(정확성이 이론값의 ±15.0%)이 벗어난 시료로 전체 품질관리시료의 정확성 및 정밀성 계산에서 제외 |  |  |  | 200 | 214.798 | 0.41084 | 107.399
[17 empty] | 400 | 431.0015 | 0.78306 | 107.7504

## Conc_table (B010~B160)
Arm B
Period | Time(hr) | B010 | B020 | B030 | B040 | B050 | B060 | B070 | B080 | B090 | B100 | B110 | B120 | B130 | B140 | B150 | B160
1기 | 0 | bar: B010 to B160
| 0.25 | 1.399 | 3.211 | 2.562 | 62.92 | 46.334 | 113.32 | 2.201 | BQL | 4.696 | 6.032 | 10.947 | 2.194 | 14.117 | 231.316 | 14.448 | 89.213
| 0.5 | 16.37 | 83.46 | 140.154 | 186.368 | 134.333 | 211.592 | 7.383 | 4.745 | 81.906 | 83.613 | 109.719 | 44.337 | 153.084 | 341.32 | 167.794 | 270.121
| 0.75 | 42.16 | 157.224 | 178.917 | 152.092 | 134.53 | 185.838 | 20.511 | 44.636 | 191.41 | 73.163 | 179.982 | 128.018 | 141.232 | 250.058 | 161.839 | 221.826
| 1 | 56.523 | 144.412 | 161.417 | 106.128 | 105.496 | 137.774 | 75.124 | 134.515 | 177.041 | 71.67 | 166.924 | 130.205 | 134.975 | 174.71 | 131.748 | 171.036
| 1.5 | 99.55 | 94.224 | 102.32 | 58.632 | 58.91 | 84.71 | 154.993 | 193.682 | 104.498 | 62.168 | 108.811 | 156.976 | 80.462 | 95.318 | 71.819 | 105.786
| 2 | 112.233 | 64.825 | 72.074 | 38.901 | 39.969 | 64.959 | 99.398 | 113.683 | 69.014 | 122.034 | 66.938 | 133.193 | 58.92 | 71.073 | 48.314 | 81.796
| 3 | 67.838 | 36.386 | 41.263 | 25.441 | 26.226 | 38.574 | 63.876 | 58.352 | 40.855 | 90.166 | 36.93 | 84.189 | 34.019 | 45.011 | 27.708 | 59.945
| 4 | 39.251 | 26.744 | 30.567 | 19.976 | 20.524 | 28.555 | 37.287 | 41.743 | 30.037 | 52.572 | 30.418 | 63.548 | 30.574 | 33.902 | 21.082 | 46.402
| 5 | 26.082 | 19.271 | 22.456 | 17.084 | 13.524 | 19.27 | 27.04 | 28.47 | 21.89 | 34.061 | 21.59 | 38.883 | 22.454 | 24.484 | 15.956 | 33.072
| 6 | 18.681 | 16.36 | 15.643 | 13.191 | 11.352 | 20.27 | 20.422 | 21.784 | 17.921 | 22.894 | 16.119 | 29.877 | 17.23 | 20.457 | 11.505 | 25.416
| 7 | 15.512 | 13.999 | 12.387 | 10.131 | 12.047 | 18.014 | 16.72 | 19.755 | 14.132 | 18.205 | 17.449 | 24.512 | 14.232 | 16.873 | 9.389 | 20.826
| 8 | 12.286 | 11.725 | 9.604 | 8.649 | 12.461 | 14.997 | 14.2 | 16.9 | 12.205 | 16.331 | 14.497 | 21.876 | 12.813 | 17.125 | 7.997 | 18.856
| 10 | 8.62 | 9.534 | 6.232 | 6.312 | 7.142 | 11.806 | 10.267 | 12.962 | 7.146 | 10.511 | 11.052 | 13.666 | 10.112 | 10.248 | 6.24 | 14.208
| 12 | 7.785 | 9.477 | 4.638 | 5.889 | 5.402 | 9.476 | 8.1 | 10.329 | 5.377 | 8.17 | 8.686 | 12.729 | 7.786 | 8.449 | 5.73 | 9.792
| 24 | 2.251 | 3.336 | 1.298 | 2.588 | 1.872 | 3.206 | 3.553 | 3.375 | 2.278 | 2.874 | 3.547 | 6.028 | 3.663 | 2.522 | 2.967 | 2.813
| 36 | BQL | 1.711 | BQL | BQL | BQL | BQL | 1.495 | BQL | 1.223 | 1.184 | 2.57 | 2.406 | BQL | BQL | 1.441 | BQL
2기 | 0 | bar: B010 to B160
| 0.25 | 35.903 | ND | 40.432 | 13.738 | 15.15 | 72.749 | 4.865 | BQL | 16.261 | 40.331 | 18.528 | 28.362 | 64.185 | - | 49.67 | 7.18
| 0.5 | 184.689 | 1.503 | 171.547 | 122.337 | 92.216 | 175.296 | 108.982 | 48.975 | 108.676 | 168.005 | 127.666 | 178.939 | 191.746 | - | 164.905 | 110.78
| 0.75 | 169.304 | 3.408 | 161.481 | 131.045 | 123.896 | 146.573 | 143.179 | 173.296 | 142.685 | 190.3 | 157.61 | 209.212 | 164.663 | - | 150.763 | 194.755
| 1 | 134.124 | 6.634 | 116.601 | 121.223 | 111.031 | 108.672 | 195.56 | 129.863 | 135.576 | 159.396 | 138.373 | 180.72 | 124.051 | - | 108.37 | 197.621
| 1.5 | 82.763 | 68.887 | 74.77 | 82.126 | 75.864 | 74.789 | 92.771 | 138.883 | 87.923 | 102.765 | 97.176 | 124.759 | 74.089 | - | 64.388 | 139.061
| 2 | 60.736 | 89.932 | 52.738 | 51.974 | 59.143 | 57.968 | - | 100.754 | 61.701 | 74.602 | 67.742 | 88.063 | 52.411 | - | 46.594 | 96.187
| 3 | 36.313 | 58.014 | 32.78 | 30.319 | 34.307 | 43.781 | - | 53.809 | 47.684 | 48.965 | 42.615 | 57.049 | 31.4 | - | 27.405 | 64.013
| 4 | 25.798 | 53.496 | 23.107 | 24.712 | 24.958 | 31.434 | - | 38.909 | 32.864 | 38.014 | 30.72 | 42.826 | 23.006 | - | 19.199 | 47.401
| 5 | 18.824 | 29.789 | 16.263 | 15.652 | 20.073 | 20.502 | - | 25.748 | 22.947 | 30.463 | 21.658 | 29.383 | 21.083 | - | 13.147 | 32.854
| 6 | 16.331 | 20.097 | 12.554 | 10.908 | 15.059 | 17.553 | - | 20.357 | 17.21 | 21.957 | 16.253 | 23.721 | 16.094 | - | 10.629 | 25.226
| 7 | 14.39 | 17.528 | 12.689 | 8.32 | 13.36 | 16.255 | - | 15.203 | 13.483 | 16.542 | 12.233 | 17.862 | 12.403 | - | 8.341 | 20.508
| 8 | 11.352 | 14.291 | 10.771 | 6.948 | 11.983 | 13.762 | - | 14.167 | 11.89 | 14.092 | 11.048 | 16.373 | 11.212 | - | 7.407 | 17.415
| 10 | 8.728 | 12.22 | 5.954 | 4.267 | 8.236 | 10.437 | - | 8.986 | 7.44 | 8.815 | 9.156 | 11.555 | 9.709 | - | 4.37 | 12.563
| 12 | 9.937 | 7.273 | 4.29 | 3.188 | 6.549 | 9.076 | - | 9.736 | 5.537 | 6.263 | 7.811 | 8.804 | 8.757 | - | 4.682 | 9.433
| 24 | 2.289 | 2.991 | 2.074 | 1.338 | 2.608 | 3.108 | - | 3.733 | 2.094 | 2.295 | 3.283 | 4.738 | 2.859 | - | 2.992 | 2.405
| 36 | BQL | 1.351 | BQL | BQL | BQL | BQL | - | BQL | 1.378 | 1.067 | 2.347 | 1.885 | BQL | - | 1.691 | BQL

## Sample Conc. (통계용 전달)
Subject | Period | Time | Measured concentration (ng/mL) | Conver. Conc. (ng/mL) | LLOQ (ng/mL) | 1
B010 | 1 | 0 | No Peak | ND
B010 | 1 | 0.25 | 1.399 | 1.399
B010 | 1 | 0.5 | 16.37 | 16.37
B010 | 1 | 0.75 | 42.16 | 42.16
B010 | 1 | 1 | 56.523 | 56.523
B010 | 1 | 1.5 | 99.55 | 99.55
B010 | 1 | 2 | 112.233 | 112.233
B010 | 1 | 3 | 67.838 | 67.838
B010 | 1 | 4 | 39.251 | 39.251
B010 | 1 | 5 | 26.082 | 26.082
B010 | 1 | 6 | 18.681 | 18.681
B010 | 1 | 7 | 15.512 | 15.512
B010 | 1 | 8 | 12.286 | 12.286
B010 | 1 | 10 | 8.62 | 8.62
B010 | 1 | 12 | 7.785 | 7.785
B010 | 1 | 24 | 2.251 | 2.251
B010 | 1 | 36 | 0.476 | BQL
B010 | 2 | 0 | No Peak | ND
B010 | 2 | 0.25 | 35.903 | 35.903
B010 | 2 | 0.5 | 184.689 | 184.689
B010 | 2 | 0.75 | 169.304 | 169.304
B010 | 2 | 1 | 134.124 | 134.124
B010 | 2 | 1.5 | 82.763 | 82.763
B010 | 2 | 2 | 60.736 | 60.736
B010 | 2 | 3 | 36.313 | 36.313
B010 | 2 | 4 | 25.798 | 25.798
B010 | 2 | 5 | 18.824 | 18.824
B010 | 2 | 6 | 16.331 | 16.331
B010 | 2 | 7 | 14.39 | 14.39
B010 | 2 | 8 | 11.352 | 11.352
B010 | 2 | 10 | 8.728 | 8.728
B010 | 2 | 12 | 9.937 | 9.937
B010 | 2 | 24 | 2.289 | 2.289
B010 | 2 | 36 | 0.29 | BQL
B020 | 1 | 0 | No Peak | ND
B020 | 1 | 0.25 | 3.211 | 3.211
B020 | 1 | 0.5 | 83.46 | 83.46
B020 | 1 | 0.75 | 157.224 | 157.224
B020 | 1 | 1 | 144.412 | 144.412
B020 | 1 | 1.5 | 94.224 | 94.224
B020 | 1 | 2 | 64.825 | 64.825
B020 | 1 | 3 | 36.386 | 36.386
B020 | 1 | 4 | 26.744 | 26.744
B020 | 1 | 5 | 19.271 | 19.271
B020 | 1 | 6 | 16.36 | 16.36
B020 | 1 | 7 | 13.999 | 13.999
B020 | 1 | 8 | 11.725 | 11.725
B020 | 1 | 10 | 9.534 | 9.534
B020 | 1 | 12 | 9.477 | 9.477
B020 | 1 | 24 | 3.336 | 3.336
B020 | 1 | 36 | 1.711 | 1.711
B020 | 2 | 0 | No Peak | ND
B020 | 2 | 0.25 | 0.121 | ND
B020 | 2 | 0.5 | 1.503 | 1.503
B020 | 2 | 0.75 | 3.408 | 3.408
B020 | 2 | 1 | 6.634 | 6.634
B020 | 2 | 1.5 | 68.887 | 68.887
B020 | 2 | 2 | 89.932 | 89.932
B020 | 2 | 3 | 58.014 | 58.014
B020 | 2 | 4 | 53.496 | 53.496
B020 | 2 | 5 | 29.789 | 29.789
B020 | 2 | 6 | 20.097 | 20.097
B020 | 2 | 7 | 17.528 | 17.528
B020 | 2 | 8 | 14.291 | 14.291
B020 | 2 | 10 | 12.22 | 12.22
B020 | 2 | 12 | 7.273 | 7.273
B020 | 2 | 24 | 2.991 | 2.991
B020 | 2 | 36 | 1.351 | 1.351
B030 | 1 | 0 | No Peak | ND
B030 | 1 | 0.25 | 2.562 | 2.562
B030 | 1 | 0.5 | 140.154 | 140.154
B030 | 1 | 0.75 | 178.917 | 178.917
B030 | 1 | 1 | 161.417 | 161.417
B030 | 1 | 1.5 | 102.32 | 102.32
B030 | 1 | 2 | 72.074 | 72.074
B030 | 1 | 3 | 41.263 | 41.263
B030 | 1 | 4 | 30.567 | 30.567
B030 | 1 | 5 | 22.456 | 22.456
B030 | 1 | 6 | 15.643 | 15.643
B030 | 1 | 7 | 12.387 | 12.387
B030 | 1 | 8 | 9.604 | 9.604
B030 | 1 | 10 | 6.232 | 6.232
B030 | 1 | 12 | 4.638 | 4.638
B030 | 1 | 24 | 1.298 | 1.298
B030 | 1 | 36 | 0.671 | BQL
B030 | 2 | 0 | No Peak | ND
B030 | 2 | 0.25 | 40.432 | 40.432
B030 | 2 | 0.5 | 171.547 | 171.547
B030 | 2 | 0.75 | 161.481 | 161.481
B030 | 2 | 1 | 116.601 | 116.601
B030 | 2 | 1.5 | 74.77 | 74.77
B030 | 2 | 2 | 52.738 | 52.738
B030 | 2 | 3 | 32.78 | 32.78
B030 | 2 | 4 | 23.107 | 23.107
B030 | 2 | 5 | 16.263 | 16.263
B030 | 2 | 6 | 12.554 | 12.554
B030 | 2 | 7 | 12.689 | 12.689
B030 | 2 | 8 | 10.771 | 10.771
B030 | 2 | 10 | 5.954 | 5.954
B030 | 2 | 12 | 4.29 | 4.29
B030 | 2 | 24 | 2.074 | 2.074
B030 | 2 | 36 | 0.59 | BQL
B040 | 1 | 0 | No Peak | ND
B040 | 1 | 0.25 | 62.92 | 62.92
B040 | 1 | 0.5 | 186.368 | 186.368
B040 | 1 | 0.75 | 152.092 | 152.092
B040 | 1 | 1 | 106.128 | 106.128
B040 | 1 | 1.5 | 58.632 | 58.632
B040 | 1 | 2 | 38.901 | 38.901
B040 | 1 | 3 | 25.441 | 25.441
B040 | 1 | 4 | 19.976 | 19.976
B040 | 1 | 5 | 17.084 | 17.084
B040 | 1 | 6 | 13.191 | 13.191
B040 | 1 | 7 | 10.131 | 10.131
B040 | 1 | 8 | 8.649 | 8.649
B040 | 1 | 10 | 6.312 | 6.312
B040 | 1 | 12 | 5.889 | 5.889
B040 | 1 | 24 | 2.588 | 2.588
B040 | 1 | 36 | 0.725 | BQL
B040 | 2 | 0 | No Peak | ND
B040 | 2 | 0.25 | 13.738 | 13.738
B040 | 2 | 0.5 | 122.337 | 122.337
B040 | 2 | 0.75 | 131.045 | 131.045
B040 | 2 | 1 | 121.223 | 121.223
B040 | 2 | 1.5 | 82.126 | 82.126
B040 | 2 | 2 | 51.974 | 51.974
B040 | 2 | 3 | 30.319 | 30.319
B040 | 2 | 4 | 24.712 | 24.712
B040 | 2 | 5 | 15.652 | 15.652
B040 | 2 | 6 | 10.908 | 10.908
B040 | 2 | 7 | 8.32 | 8.32
B040 | 2 | 8 | 6.948 | 6.948
B040 | 2 | 10 | 4.267 | 4.267
B040 | 2 | 12 | 3.188 | 3.188
B040 | 2 | 24 | 1.338 | 1.338
B040 | 2 | 36 | 0.357 | BQL
B050 | 1 | 0 | No Peak | ND
B050 | 1 | 0.25 | 46.334 | 46.334
B050 | 1 | 0.5 | 134.333 | 134.333
B050 | 1 | 0.75 | 134.53 | 134.53
B050 | 1 | 1 | 105.496 | 105.496
B050 | 1 | 1.5 | 58.91 | 58.91
B050 | 1 | 2 | 39.969 | 39.969
B050 | 1 | 3 | 26.226 | 26.226
B050 | 1 | 4 | 20.524 | 20.524
B050 | 1 | 5 | 13.524 | 13.524
B050 | 1 | 6 | 11.352 | 11.352
B050 | 1 | 7 | 12.047 | 12.047
B050 | 1 | 8 | 12.461 | 12.461
B050 | 1 | 10 | 7.142 | 7.142
B050 | 1 | 12 | 5.402 | 5.402
B050 | 1 | 24 | 1.872 | 1.872
B050 | 1 | 36 | 0.877 | BQL
B050 | 2 | 0 | No Peak | ND
B050 | 2 | 0.25 | 15.15 | 15.15
B050 | 2 | 0.5 | 92.216 | 92.216
B050 | 2 | 0.75 | 123.896 | 123.896
B050 | 2 | 1 | 111.031 | 111.031
B050 | 2 | 1.5 | 75.864 | 75.864
B050 | 2 | 2 | 59.143 | 59.143
B050 | 2 | 3 | 34.307 | 34.307
B050 | 2 | 4 | 24.958 | 24.958
B050 | 2 | 5 | 20.073 | 20.073
B050 | 2 | 6 | 15.059 | 15.059
B050 | 2 | 7 | 13.36 | 13.36
B050 | 2 | 8 | 11.983 | 11.983
B050 | 2 | 10 | 8.236 | 8.236
B050 | 2 | 12 | 6.549 | 6.549
B050 | 2 | 24 | 2.608 | 2.608
B050 | 2 | 36 | 0.833 | BQL
B060 | 1 | 0 | No Peak | ND
B060 | 1 | 0.25 | 113.32 | 113.32
B060 | 1 | 0.5 | 211.592 | 211.592
B060 | 1 | 0.75 | 185.838 | 185.838
B060 | 1 | 1 | 137.774 | 137.774
B060 | 1 | 1.5 | 84.71 | 84.71
B060 | 1 | 2 | 64.959 | 64.959
B060 | 1 | 3 | 38.574 | 38.574
B060 | 1 | 4 | 28.555 | 28.555
B060 | 1 | 5 | 19.27 | 19.27
B060 | 1 | 6 | 20.27 | 20.27
B060 | 1 | 7 | 18.014 | 18.014
B060 | 1 | 8 | 14.997 | 14.997
B060 | 1 | 10 | 11.806 | 11.806
B060 | 1 | 12 | 9.476 | 9.476
B060 | 1 | 24 | 3.206 | 3.206
B060 | 1 | 36 | 0.964 | BQL
B060 | 2 | 0 | No Peak | ND
B060 | 2 | 0.25 | 72.749 | 72.749
B060 | 2 | 0.5 | 175.296 | 175.296
B060 | 2 | 0.75 | 146.573 | 146.573
B060 | 2 | 1 | 108.672 | 108.672
B060 | 2 | 1.5 | 74.789 | 74.789
B060 | 2 | 2 | 57.968 | 57.968
B060 | 2 | 3 | 43.781 | 43.781
B060 | 2 | 4 | 31.434 | 31.434
B060 | 2 | 5 | 20.502 | 20.502
B060 | 2 | 6 | 17.553 | 17.553
B060 | 2 | 7 | 16.255 | 16.255
B060 | 2 | 8 | 13.762 | 13.762
B060 | 2 | 10 | 10.437 | 10.437
B060 | 2 | 12 | 9.076 | 9.076
B060 | 2 | 24 | 3.108 | 3.108
B060 | 2 | 36 | 0.68 | BQL
B070 | 1 | 0 | No Peak | ND
B070 | 1 | 0.25 | 2.201 | 2.201
B070 | 1 | 0.5 | 7.383 | 7.383
B070 | 1 | 0.75 | 20.511 | 20.511
B070 | 1 | 1 | 75.124 | 75.124
B070 | 1 | 1.5 | 154.993 | 154.993
B070 | 1 | 2 | 99.398 | 99.398
B070 | 1 | 3 | 63.876 | 63.876
B070 | 1 | 4 | 37.287 | 37.287
B070 | 1 | 5 | 27.04 | 27.04
B070 | 1 | 6 | 20.422 | 20.422
B070 | 1 | 7 | 16.72 | 16.72
B070 | 1 | 8 | 14.2 | 14.2
B070 | 1 | 10 | 10.267 | 10.267
B070 | 1 | 12 | 8.1 | 8.1
B070 | 1 | 24 | 3.553 | 3.553
B070 | 1 | 36 | 1.495 | 1.495
B070 | 2 | 0 | No Peak | ND
B070 | 2 | 0.25 | 4.865 | 4.865
B070 | 2 | 0.5 | 108.982 | 108.982
B070 | 2 | 0.75 | 143.179 | 143.179
B070 | 2 | 1 | 195.56 | 195.56
B070 | 2 | 1.5 | 92.771 | 92.771
B080 | 1 | 0 | No Peak | ND
B080 | 1 | 0.25 | 0.81 | BQL
B080 | 1 | 0.5 | 4.745 | 4.745
B080 | 1 | 0.75 | 44.636 | 44.636
B080 | 1 | 1 | 134.515 | 134.515
B080 | 1 | 1.5 | 193.682 | 193.682
B080 | 1 | 2 | 113.683 | 113.683
B080 | 1 | 3 | 58.352 | 58.352
B080 | 1 | 4 | 41.743 | 41.743
B080 | 1 | 5 | 28.47 | 28.47
B080 | 1 | 6 | 21.784 | 21.784
B080 | 1 | 7 | 19.755 | 19.755
B080 | 1 | 8 | 16.9 | 16.9
B080 | 1 | 10 | 12.962 | 12.962
B080 | 1 | 12 | 10.329 | 10.329
B080 | 1 | 24 | 3.375 | 3.375
B080 | 1 | 36 | 0.675 | BQL
B080 | 2 | 0 | No Peak | ND
B080 | 2 | 0.25 | 0.471 | BQL
B080 | 2 | 0.5 | 48.975 | 48.975
B080 | 2 | 0.75 | 173.296 | 173.296
B080 | 2 | 1 | 129.863 | 129.863
B080 | 2 | 1.5 | 138.883 | 138.883
B080 | 2 | 2 | 100.754 | 100.754
B080 | 2 | 3 | 53.809 | 53.809
B080 | 2 | 4 | 38.909 | 38.909
B080 | 2 | 5 | 25.748 | 25.748
B080 | 2 | 6 | 20.357 | 20.357
B080 | 2 | 7 | 15.203 | 15.203
B080 | 2 | 8 | 14.167 | 14.167
B080 | 2 | 10 | 8.986 | 8.986
B080 | 2 | 12 | 9.736 | 9.736
B080 | 2 | 24 | 3.733 | 3.733
B080 | 2 | 36 | 0.505 | BQL
B090 | 1 | 0 | No Peak | ND
B090 | 1 | 0.25 | 4.696 | 4.696
B090 | 1 | 0.5 | 81.906 | 81.906
B090 | 1 | 0.75 | 191.41 | 191.41
B090 | 1 | 1 | 177.041 | 177.041
B090 | 1 | 1.5 | 104.498 | 104.498
B090 | 1 | 2 | 69.014 | 69.014
B090 | 1 | 3 | 40.855 | 40.855
B090 | 1 | 4 | 30.037 | 30.037
B090 | 1 | 5 | 21.89 | 21.89
B090 | 1 | 6 | 17.921 | 17.921
B090 | 1 | 7 | 14.132 | 14.132
B090 | 1 | 8 | 12.205 | 12.205
B090 | 1 | 10 | 7.146 | 7.146
B090 | 1 | 12 | 5.377 | 5.377
B090 | 1 | 24 | 2.278 | 2.278
B090 | 1 | 36 | 1.223 | 1.223
B090 | 2 | 0 | No Peak | ND
B090 | 2 | 0.25 | 16.261 | 16.261
B090 | 2 | 0.5 | 108.676 | 108.676
B090 | 2 | 0.75 | 142.685 | 142.685
B090 | 2 | 1 | 135.576 | 135.576
B090 | 2 | 1.5 | 87.923 | 87.923
B090 | 2 | 2 | 61.701 | 61.701
B090 | 2 | 3 | 47.684 | 47.684
B090 | 2 | 4 | 32.864 | 32.864
B090 | 2 | 5 | 22.947 | 22.947
B090 | 2 | 6 | 17.21 | 17.21
B090 | 2 | 7 | 13.483 | 13.483
B090 | 2 | 8 | 11.89 | 11.89
B090 | 2 | 10 | 7.44 | 7.44
B090 | 2 | 12 | 5.537 | 5.537
B090 | 2 | 24 | 2.094 | 2.094
B090 | 2 | 36 | 1.378 | 1.378
B100 | 1 | 0 | No Peak | ND
B100 | 1 | 0.25 | 6.032 | 6.032
B100 | 1 | 0.5 | 83.613 | 83.613
B100 | 1 | 0.75 | 73.163 | 73.163
B100 | 1 | 1 | 71.67 | 71.67
B100 | 1 | 1.5 | 62.168 | 62.168
B100 | 1 | 2 | 122.034 | 122.034
B100 | 1 | 3 | 90.166 | 90.166
B100 | 1 | 4 | 52.572 | 52.572
B100 | 1 | 5 | 34.061 | 34.061
B100 | 1 | 6 | 22.894 | 22.894
B100 | 1 | 7 | 18.205 | 18.205
B100 | 1 | 8 | 16.331 | 16.331
B100 | 1 | 10 | 10.511 | 10.511
B100 | 1 | 12 | 8.17 | 8.17
B100 | 1 | 24 | 2.874 | 2.874
B100 | 1 | 36 | 1.184 | 1.184
B100 | 2 | 0 | No Peak | ND
B100 | 2 | 0.25 | 40.331 | 40.331
B100 | 2 | 0.5 | 168.005 | 168.005
B100 | 2 | 0.75 | 190.3 | 190.3
B100 | 2 | 1 | 159.396 | 159.396
B100 | 2 | 1.5 | 102.765 | 102.765
B100 | 2 | 2 | 74.602 | 74.602
B100 | 2 | 3 | 48.965 | 48.965
B100 | 2 | 4 | 38.014 | 38.014
B100 | 2 | 5 | 30.463 | 30.463
B100 | 2 | 6 | 21.957 | 21.957
B100 | 2 | 7 | 16.542 | 16.542
B100 | 2 | 8 | 14.092 | 14.092
B100 | 2 | 10 | 8.815 | 8.815
B100 | 2 | 12 | 6.263 | 6.263
B100 | 2 | 24 | 2.295 | 2.295
B100 | 2 | 36 | 1.067 | 1.067
B110 | 1 | 0 | No Peak | ND
B110 | 1 | 0.25 | 10.947 | 10.947
B110 | 1 | 0.5 | 109.719 | 109.719
B110 | 1 | 0.75 | 179.982 | 179.982
B110 | 1 | 1 | 166.924 | 166.924
B110 | 1 | 1.5 | 108.811 | 108.811
B110 | 1 | 2 | 66.938 | 66.938
B110 | 1 | 3 | 36.93 | 36.93
B110 | 1 | 4 | 30.418 | 30.418
B110 | 1 | 5 | 21.59 | 21.59
B110 | 1 | 6 | 16.119 | 16.119
B110 | 1 | 7 | 17.449 | 17.449
B110 | 1 | 8 | 14.497 | 14.497
B110 | 1 | 10 | 11.052 | 11.052
B110 | 1 | 12 | 8.686 | 8.686
B110 | 1 | 24 | 3.547 | 3.547
B110 | 1 | 36 | 2.57 | 2.57
B110 | 2 | 0 | No Peak | ND
B110 | 2 | 0.25 | 18.528 | 18.528
B110 | 2 | 0.5 | 127.666 | 127.666
B110 | 2 | 0.75 | 157.61 | 157.61
B110 | 2 | 1 | 138.373 | 138.373
B110 | 2 | 1.5 | 97.176 | 97.176
B110 | 2 | 2 | 67.742 | 67.742
B110 | 2 | 3 | 42.615 | 42.615
B110 | 2 | 4 | 30.72 | 30.72
B110 | 2 | 5 | 21.658 | 21.658
B110 | 2 | 6 | 16.253 | 16.253
B110 | 2 | 7 | 12.233 | 12.233
B110 | 2 | 8 | 11.048 | 11.048
B110 | 2 | 10 | 9.156 | 9.156
B110 | 2 | 12 | 7.811 | 7.811
B110 | 2 | 24 | 3.283 | 3.283
B110 | 2 | 36 | 2.347 | 2.347
B120 | 1 | 0 | No Peak | ND
B120 | 1 | 0.25 | 2.194 | 2.194
B120 | 1 | 0.5 | 44.337 | 44.337
B120 | 1 | 0.75 | 128.018 | 128.018
B120 | 1 | 1 | 130.205 | 130.205
B120 | 1 | 1.5 | 156.976 | 156.976
B120 | 1 | 2 | 133.193 | 133.193
B120 | 1 | 3 | 84.189 | 84.189
B120 | 1 | 4 | 63.548 | 63.548
B120 | 1 | 5 | 38.883 | 38.883
B120 | 1 | 6 | 29.877 | 29.877
B120 | 1 | 7 | 24.512 | 24.512
B120 | 1 | 8 | 21.876 | 21.876
B120 | 1 | 10 | 13.666 | 13.666
B120 | 1 | 12 | 12.729 | 12.729
B120 | 1 | 24 | 6.028 | 6.028
B120 | 1 | 36 | 2.406 | 2.406
B120 | 2 | 0 | No Peak | ND
B120 | 2 | 0.25 | 28.362 | 28.362
B120 | 2 | 0.5 | 178.939 | 178.939
B120 | 2 | 0.75 | 209.212 | 209.212
B120 | 2 | 1 | 180.72 | 180.72
B120 | 2 | 1.5 | 124.759 | 124.759
B120 | 2 | 2 | 88.063 | 88.063
B120 | 2 | 3 | 57.049 | 57.049
B120 | 2 | 4 | 42.826 | 42.826
B120 | 2 | 5 | 29.383 | 29.383
B120 | 2 | 6 | 23.721 | 23.721
B120 | 2 | 7 | 17.862 | 17.862
B120 | 2 | 8 | 16.373 | 16.373
B120 | 2 | 10 | 11.555 | 11.555
B120 | 2 | 12 | 8.804 | 8.804
B120 | 2 | 24 | 4.738 | 4.738
B120 | 2 | 36 | 1.885 | 1.885
B130 | 1 | 0 | No Peak | ND
B130 | 1 | 0.25 | 14.117 | 14.117
B130 | 1 | 0.5 | 153.084 | 153.084
B130 | 1 | 0.75 | 141.232 | 141.232
B130 | 1 | 1 | 134.975 | 134.975
B130 | 1 | 1.5 | 80.462 | 80.462
B130 | 1 | 2 | 58.92 | 58.92
B130 | 1 | 3 | 34.019 | 34.019
B130 | 1 | 4 | 30.574 | 30.574
B130 | 1 | 5 | 22.454 | 22.454
B130 | 1 | 6 | 17.23 | 17.23
B130 | 1 | 7 | 14.232 | 14.232
B130 | 1 | 8 | 12.813 | 12.813
B130 | 1 | 10 | 10.112 | 10.112
B130 | 1 | 12 | 7.786 | 7.786
B130 | 1 | 24 | 3.663 | 3.663
B130 | 1 | 36 | 0.78 | BQL
B130 | 2 | 0 | No Peak | ND
B130 | 2 | 0.25 | 64.185 | 64.185
B130 | 2 | 0.5 | 191.746 | 191.746
B130 | 2 | 0.75 | 164.663 | 164.663
B130 | 2 | 1 | 124.051 | 124.051
B130 | 2 | 1.5 | 74.089 | 74.089
B130 | 2 | 2 | 52.411 | 52.411
B130 | 2 | 3 | 31.4 | 31.4
B130 | 2 | 4 | 23.006 | 23.006
B130 | 2 | 5 | 21.083 | 21.083
B130 | 2 | 6 | 16.094 | 16.094
B130 | 2 | 7 | 12.403 | 12.403
B130 | 2 | 8 | 11.212 | 11.212
B130 | 2 | 10 | 9.709 | 9.709
B130 | 2 | 12 | 8.757 | 8.757
B130 | 2 | 24 | 2.859 | 2.859
B130 | 2 | 36 | 0.496 | BQL
B140 | 1 | 0 | No Peak | ND
B140 | 1 | 0.25 | 231.316 | 231.316
B140 | 1 | 0.5 | 341.32 | 341.32
B140 | 1 | 0.75 | 250.058 | 250.058
B140 | 1 | 1 | 174.71 | 174.71
B140 | 1 | 1.5 | 95.318 | 95.318
B140 | 1 | 2 | 71.073 | 71.073
B140 | 1 | 3 | 45.011 | 45.011
B140 | 1 | 4 | 33.902 | 33.902
B140 | 1 | 5 | 24.484 | 24.484
B140 | 1 | 6 | 20.457 | 20.457
B140 | 1 | 7 | 16.873 | 16.873
B140 | 1 | 8 | 17.125 | 17.125
B140 | 1 | 10 | 10.248 | 10.248
B140 | 1 | 12 | 8.449 | 8.449
B140 | 1 | 24 | 2.522 | 2.522
B140 | 1 | 36 | 0.769 | BQL
B150 | 1 | 0 | No Peak | ND
B150 | 1 | 0.25 | 14.448 | 14.448
B150 | 1 | 0.5 | 167.794 | 167.794
B150 | 1 | 0.75 | 161.839 | 161.839
B150 | 1 | 1 | 131.748 | 131.748
B150 | 1 | 1.5 | 71.819 | 71.819
B150 | 1 | 2 | 48.314 | 48.314
B150 | 1 | 3 | 27.708 | 27.708
B150 | 1 | 4 | 21.082 | 21.082
B150 | 1 | 5 | 15.956 | 15.956
B150 | 1 | 6 | 11.505 | 11.505
B150 | 1 | 7 | 9.389 | 9.389
B150 | 1 | 8 | 7.997 | 7.997
B150 | 1 | 10 | 6.24 | 6.24
B150 | 1 | 12 | 5.73 | 5.73
B150 | 1 | 24 | 2.967 | 2.967
B150 | 1 | 36 | 1.441 | 1.441
B150 | 2 | 0 | No Peak | ND
B150 | 2 | 0.25 | 49.67 | 49.67
B150 | 2 | 0.5 | 164.905 | 164.905
B150 | 2 | 0.75 | 150.763 | 150.763
B150 | 2 | 1 | 108.37 | 108.37
B150 | 2 | 1.5 | 64.388 | 64.388
B150 | 2 | 2 | 46.594 | 46.594
B150 | 2 | 3 | 27.405 | 27.405
B150 | 2 | 4 | 19.199 | 19.199
B150 | 2 | 5 | 13.147 | 13.147
B150 | 2 | 6 | 10.629 | 10.629
B150 | 2 | 7 | 8.341 | 8.341
B150 | 2 | 8 | 7.407 | 7.407
B150 | 2 | 10 | 4.37 | 4.37
B150 | 2 | 12 | 4.682 | 4.682
B150 | 2 | 24 | 2.992 | 2.992
B150 | 2 | 36 | 1.691 | 1.691
B160 | 1 | 0 | No Peak | ND
B160 | 1 | 0.25 | 89.213 | 89.213
B160 | 1 | 0.5 | 270.121 | 270.121
B160 | 1 | 0.75 | 221.826 | 221.826
B160 | 1 | 1 | 171.036 | 171.036
B160 | 1 | 1.5 | 105.786 | 105.786
B160 | 1 | 2 | 81.796 | 81.796
B160 | 1 | 3 | 59.945 | 59.945
B160 | 1 | 4 | 46.402 | 46.402
B160 | 1 | 5 | 33.072 | 33.072
B160 | 1 | 6 | 25.416 | 25.416
B160 | 1 | 7 | 20.826 | 20.826
B160 | 1 | 8 | 18.856 | 18.856
B160 | 1 | 10 | 14.208 | 14.208
B160 | 1 | 12 | 9.792 | 9.792
B160 | 1 | 24 | 2.813 | 2.813
B160 | 1 | 36 | 0.504 | BQL
B160 | 2 | 0 | No Peak | ND
B160 | 2 | 0.25 | 7.18 | 7.18
B160 | 2 | 0.5 | 110.78 | 110.78
B160 | 2 | 0.75 | 194.755 | 194.755
B160 | 2 | 1 | 197.621 | 197.621
B160 | 2 | 1.5 | 139.061 | 139.061
B160 | 2 | 2 | 96.187 | 96.187
B160 | 2 | 3 | 64.013 | 64.013
B160 | 2 | 4 | 47.401 | 47.401
B160 | 2 | 5 | 32.854 | 32.854
B160 | 2 | 6 | 25.226 | 25.226
B160 | 2 | 7 | 20.508 | 20.508
B160 | 2 | 8 | 17.415 | 17.415
B160 | 2 | 10 | 12.563 | 12.563
B160 | 2 | 12 | 9.433 | 9.433
B160 | 2 | 24 | 2.405 | 2.405
B160 | 2 | 36 | 0.766 | BQL

## ISR_Report
No. | ISR Sample name | Original conc. | Repeat conc. | Difference (%) | Total analysis sample | ISR sample | Accepted analysis sample | Accepted data (%)
|  | (ng/mL) | (ng/mL)
1 | 1P_B010_3h | 67.838 | 68.276 | 0.64358 | 516 | 52 | 52 | 100
2 | 1P_B010_8h | 12.286 | 12.075 | -1.7323
3 | 2P_B010_10h | 8.728 | 8.551 | -2.0487
4 | 1P_B020_10h | 9.534 | 9.413 | -1.2772
5 | 2P_B020_3h | 58.014 | 57.899 | -0.19842
6 | 1P_B030_8h | 9.604 | 9.804 | 2.061
7 | 2P_B030_0.25h | 40.432 | 39.75 | -1.7011
8 | 2P_B030_10h | 5.954 | 5.945 | -0.15127
9 | 2P_B030_12h | 4.29 | 4.318 | 0.65056
10 | 1P_B040_0.25h | 62.92 | 62.532 | -0.61856
11 | 2P_B040_0.5h | 122.337 | 121.026 | -1.0774
12 | 1P_B050_0.5h | 134.333 | 133.969 | -0.27134
13 | 1P_B050_10h | 7.142 | 7.398 | 3.5213
14 | 2P_B050_12h | 6.549 | 6.596 | 0.7151
15 | 1P_B060_0.5h | 211.592 | 209.998 | -0.75618
16 | 1P_B060_0.75h | 185.838 | 184.581 | -0.67869
17 | 1P_B060_10h | 11.806 | 11.699 | -0.91044
18 | 1P_B060_12h | 9.476 | 9.123 | -3.7959
19 | 1P_B060_24h | 3.206 | 3.275 | 2.1293
20 | 2P_B060_0.5h | 175.296 | 175.073 | -0.12729
21 | 1P_B070_1.5h | 154.993 | 160.334 | 3.3876
22 | 1P_B070_2h | 99.398 | 105.016 | 5.4967
23 | 1P_B070_24h | 3.553 | 3.621 | 1.8957
24 | 1P_B080_2h | 113.683 | 118.954 | 4.5315
25 | 2P_B080_12h | 9.736 | 10.302 | 5.6493
26 | 2P_B080_24h | 3.733 | 3.959 | 5.8762
27 | 1P_B090_12h | 5.377 | 5.454 | 1.4218
28 | 2P_B090_10h | 7.44 | 8.254 | 10.3734
29 | 2P_B090_12h | 5.537 | 5.691 | 2.7431
30 | 1P_B100_8h | 16.331 | 17.088 | 4.5304
31 | 1P_B100_12h | 8.17 | 8.916 | 8.7323
32 | 2P_B100_1h | 159.396 | 166.515 | 4.3687
33 | 2P_B100_12h | 6.263 | 6.54 | 4.3271
34 | 1P_B110_0.5h | 109.719 | 116.037 | 5.5972
35 | 1P_B110_1h | 166.924 | 176.562 | 5.6119
36 | 2P_B110_0.5h | 127.666 | 137.396 | 7.3417
37 | 2P_B110_12h | 7.811 | 8.327 | 6.3948
38 | 1P_B120_1.5h | 156.976 | 164.376 | 4.6055
39 | 1P_B120_24h | 6.028 | 6.248 | 3.5842
40 | 2P_B130_0.25h | 64.185 | 65.309 | 1.736
41 | 2P_B130_10h | 9.709 | 9.961 | 2.5623
42 | 2P_B130_12h | 8.757 | 8.838 | 0.92072
43 | 1P_B140_0.75h | 250.058 | 251.483 | 0.56825
44 | 1P_B150_0.25h | 14.448 | 14.219 | -1.5977
45 | 1P_B150_0.5h | 167.794 | 166.613 | -0.70632
46 | 1P_B150_8h | 7.997 | 7.997 | 0
47 | 1P_B150_10h | 6.24 | 6.354 | 1.8104
48 | 1P_B150_12h | 5.73 | 5.84 | 1.9015
49 | 2P_B150_0.75h | 150.763 | 147.394 | -2.2599
50 | 2P_B150_12h | 4.682 | 4.637 | -0.96577
51 | 1P_B160_8h | 18.856 | 18.92 | 0.33884
52 | 1P_B160_10h | 14.208 | 13.986 | -1.5748

## Chromatogram
Representative Chromatogram
| STD | ISTD
Blank sample
Zero sample
LLOQ
Study sample